## Slide 1: 新生児黄疸研究と UBアナライザー開発の経緯
神戸大学名誉教授 中村 肇
第９回UB研究会 平成22年6月19日 於いて日大駿河台講堂
新生児黄疸におけるUnbound Bilirubin の測定意義 教育講演 １

## Slide 2: 第1回UB研究会 於いて 神戸ポートピアホテル 1990.11．

## Slide 3: UBアナライザー開発当時といま
経済成長率 3.5%～6.3%
出生数 143万人
極低出生体重児の出生数 6,000人
超低出生体重児の出生数 1,500人
新生児死亡率 3.4
極低出生体重児の死亡率 12%
超低出生体重児の死亡率 41%
1985年のデータからみると、

## Slide 4: UBアナライザー開発当時といま
交換輸血療法頻度 月２～３例程度
血液型不適合による重症黄疸 稀でない
敗血症 稀でない
光線療法 普及中
血清総ビリルビン測定 普及中
経皮的ビリルビン測定 研究段階
血清UB測定 研究段階
1980年代には、核黄疸による脳障害は稀でない

## Slide 5: Bilirubin binding test のさまざま
  1966 Porter Dye binding method (HBABA)
  1970 Odell Saturation index (Salicylate)
1970 Bratlid Bilirubin binding by RBC
1971 Chunga SephadexG25 method
1974 Jacobsen Peroxidase method
1977 Nakamura GOD-POD method
1978 Hsia Electron spin resonance
1981 Nakamura Automated GOD-POD method (UB Analyzer)
1982 Wells Front-face fluorometry
1982 Brodersen Selective trace ligands (MADDS)
2006 Ahlfors Computer-directed Zone fluidics

## Slide 6: GOD-POD法によるビリルビンの酸化
X
H2O2 + Gluconate Glucose
H2O
GOD ： Glucose oxidase
POD ： Peroxidase
POD
GOD
X
Bil
Alb

## Slide 7: Calculation of unbound bilirubin in the presence of peroxidase
95% ↓ 76%
ｔ
B
１００%
０%
t1
t2
→
K: peroxidase rate constant
[peroxidase]st: used peroxidase conc.
[B]: initial bilirubin conc.
Vo = ⊿B/⊿tst = K ・[peroxidase] st・ [B]
Calcualte k by albumin-free bilirubin solution.
Fixed ⊿B as 0.2[B], then count ⊿tst (seconds).
[B] = 1/ K ・ ⊿B/⊿t ・ 1/[peroxidase]
[B] = 1/ K ・ ⊿B/[B] ・ ⊿t/⊿tst ・ [peroxidase]st /[peroxidase]
⊿B/[B] ＝ 0.2, then
[B] = 1/ K ・ 0.2 ・ ⊿t/⊿tst ・ [peroxidase]st /[peroxidase]

## Slide 8: Oxidation of aqueous bilirubin in the presence of peroxidase
Nakamura H and Lee Yokei: Clinica Chimica Acta, 1977
Vo
Bilirubin

## Slide 9: Law of mass action in bilirubin-albumin binding
Ka =
[BA]
[UB] ・ [A]
[BA] : 結合した biliribin のモル濃度
[UB] : 遊離の biliribin のモル濃度
[A] : 遊離のalbuminのモル濃度
Ka : Association constant
[UB]は、[BA]/[TA] モル比により、規定される。
従って、モル比が1以下では、希釈による影響はない。
しかし、競合物質が大量に存在すると、影響される。
[TA] : 総albumin濃度
[A] = [TA] - [BA] であるので、
[UB] =
1
[BA]
[TA] - [BA]
・
Ka
[UB] =
1
[BA]/[TA]
1 - [BA]/[TA]
・
Ka

## Slide 10: 臍帯血を用いた Bilirubin Titration Curves
小児科臨床、1986
B/Aモル比1.0の血清とは： | 
BIL | ALB
34mg/dL | 4g/dL
25mg/dL | 3g/dL
17mg/dL | 2g/dL

## Slide 11: Scatchard plot of bilirubin-albumin binding
Nakamura H and Lee Y: Clinica Chimica Acta, 1977

## Slide 12: Effects of hemolysis on the TB and UB levels by the addition of different conc. of hemolysate
Nakamura H and Lee Y: Clinica Chimica Acta, 1977
A575

## Slide 13: Sulfisoxazole投与後のBilirubin tritration Curveの変化
Shimabuku R: Acta Pediatr Jpn, 1983
Gunn rat腹腔内に100mg・kg投与後30分、60分の血清を用いた実験

## Slide 14
PEDIATRICS Vol. 75 No.4 April 1985

## Slide 15
PEDIATRICS , 1985

## Slide 16
PEDIATRICS , 1985

## Slide 17: ABR recording in infant treated with exchange transfusion
Male, Day 3, RhE incompatibilities
PEDIATRICS , 1985

## Slide 19: 血清アンバウンドビリルビン濃度測定の臨床的有用性と カットオフ値の検討
対象：
国内3施設で、高ビ血症新生児270例。
ビリルビンによる中枢神経障害が強く疑われる症例（有病例）は、
BW＜1,500gで50例中5例、1,500g~2,500gで88例中7例、
2,500g以上では132例中7例。
まとめ：
血清UB値のカットオフ値をBW＜1,500gで0.8ug/dL, 1,500g以上では1.0ug/dLとしたときに、極めて高い正診率を得た。
TB値ではUB値よりも正診率が低かった。
小児科臨床 44:2244, 1991

## Slide 20: 光線療法・交換輸血の適応基準 1991.4.

## Slide 21: UB測定上の課題
溶血の影響
直接ビリルビンの影響
ビタミンCなどの抗酸化剤の影響

## Slide 22: 超低出生体重児の黄疸管理での今後の課題
核黄疸は許されない、予知できる疾患！
いかに核黄疸のリスクを評価するか？
UB測定法の簡易化、微量化。非観血的に。
脳機能評価法として、ABRからMRI,MRSへ、
さらに ？？？

## Slide 23: 終わり

## Slide 24
出生率、乳児死亡率、新生児死亡率と国民所得 1945 - 2010
年
MＥ機器の開発と
積極的な救命医療
Chart: 
出生率 | 34.3 | 28.1 | 25.3 | 23.4 | 21.5 | 20 | 19.4 | 18.4 | 17.2 | 18 | 17.5 | 17.2 | 16.9 | 17 | 17.3 | 17.7 | 18.6 | 13.7 | 19.4 | 18.6 | 18.5 | 18.8 | 19.2 | 19.3 | 19.4 | 18.6 | 17.1 | 16.3 | 15.5 | 14.9 | 14.2 | 13.6 | 13 | 12.8 | 12.7 | 12.5 | 11.9 | 11.4 | 11.1 | 10.8 | 10.2 | 10 | 9.9 | 9.8 | 9.6 | 10 | 9.6 | 9.7 | 9.5 | 9.6 | 9.4 | 9.5 | 9.3 | 9.2 | 8.9 | 8.8 | 8.4 | 8.7 | 8.6 | 8.7
乳児児死亡率 | 76.7 | 60.1 | 57.5 | 49.4 | 48.9 | 44.6 | 39.8 | 40.6 | 40 | 34.5 | 33.7 | 30.7 | 28.6 | 26.4 | 23.2 | 20.4 | 18.5 | 19.3 | 14.9 | 15.3 | 14.2 | 13.1 | 12.4 | 11.7 | 11.3 | 10.8 | 10 | 9.3 | 8.9 | 8.4 | 7.9 | 7.5 | 7.1 | 6.6 | 6.2 | 6 | 5.5 | 5.2 | 5 | 4.8 | 4.6 | 4.6 | 4.4 | 4.5 | 4.3 | 4.2 | 4.3 | 3.8 | 3.7 | 3.6 | 3.4 | 3.2 | 3.1 | 3 | 3 | 2.8 | 2.8 | 2.6 | 2.6 | 2.6
新生児死亡率 | 31.4 | 27.4 | 27.5 | 25.4 | 25.5 | 24.1 | 22.3 | 23 | 21.6 | 19.5 | 18.6 | 17 | 16.5 | 15.3 | 13.8 | 12.4 | 11.7 | 12 | 9.9 | 9.8 | 9.1 | 8.7 | 8.2 | 7.8 | 7.4 | 7.1 | 6.8 | 6.4 | 6.1 | 5.6 | 5.2 | 4.9 | 4.7 | 4.2 | 3.9 | 3.7 | 3.4 | 3.1 | 2.9 | 2.7 | 2.6 | 2.6 | 2.4 | 2.4 | 2.3 | 2.3 | 2.2 | 2 | 1.9 | 2 | 1.8 | 1.8 | 1.6 | 1.7 | 1.7 | 1.5 | 1.4 | 1.3 | 1.3 | 1.2
Chart: 
| 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90
前年比 | 0.0697 | 0.072 | 0.057 | 0.054 | 0.086 | 0.103 | 0.143 | 0.135 | 0.13 | 0.137 | 0.105 | 0.111 | 0.131 | 0.133 | 0.164 | 0.17 | 0.137 | 0.15 | 0.215 | 0.28 | 0.127 | 0.108 | 0.099 | 0.063 | 0.059 | 0.06 | 0.065 | 0.039 | 0.024 | 0.041 | 0.039 | 0.028 | 0.026 | 0.032
雇用者所得前年比
朝鮮戦争
50.6～53.7
インドシナ・ベトナム戦争
45～75